BEFORE THE HON’BLE PUNJAB STATE ELECTRICITY REGULATORY COMMISSION, CHANDIGARH

IN THE MATTER OF					PETITION NO.    OF 2024

Petition under Regulation 47 of Supply Code-2014 and Regulation 8(4) of Chapter II of the Conduct of Business Regulations 2005 for revision of Standard Cost Data.

INDEX

| Sr. No. | Particulars | Pages |
| --- | --- | --- |
| 1. | Petition Filed by PSPCL | 1-15 |
| 2. | Affidavit | 16 |
| 3. | Annexure-A | 17 |
| 4. | Annexure-B | 18 |
| 5. | Annexure-C | 19-21 |
| 6. | Annexure-D | 22-23 |
| 7. | Annexure-E | 24-25 |
| 8. | Annexure-F | 26-38 |
| 9. | Annexure-G | 39-90 |
| 10. | Annexure-H | 91-134 |
| 11. | Annexure-I | 135-197 |
| 12. | Annexure-J | 198-202 |
| 13. | Annexure-K | 203-262 |
| 14. | Annexure-L | 263-325 |
| 15. | Annexure-M | 326 |
| 16. | Annexure-N | 327 |
| 17. | Annexure-O | 328 |
| 18. | Annexure-P | 329 |
| 19. | Annexure-Q | 330-331 |
| 20. | Annexure-R | 332 |

BEFORE THE HON’BLE PUNJAB STATE ELECTRICITY REGULATORY COMMISSION, CHANDIGARH

IN THE MATTER OF					PETITION NO.    OF 2024

Petition under Regulation 47 of Supply Code-2014 and Regulation 8(4) of Chapter II of the Conduct of Business Regulations 2005 for revision of Standard Cost Data.

AND

IN THE MATTER OF

PUNJAB STATE POWER CORPORATION LIMITED,

THE MALL, PATIALA, PUNJAB.

MOST RESPECTFULLY SHOWETH:-

- That this Petition is being filed by the Petitioner PUNAJB STATE POWER CORPORATION Limited (PSPCL) for revision of Standard Cost Data.

- Background

Earlier the Standard Cost Data was approved by Hon’ble PSERC during the year for 2019-2020 vide memo no. 460/PSERC/DTC/DTJ-56/Vol.X dated 24.05.2019. The same was issued, vide Commercial Circular No. 23/2019 date 28.05.2021.

  - Thereafter, a meeting of the Supply Code Review Panel was held under the Chairmanship of Sh. Viswajeet Khanna, Chairperson, PSERC on 28.04.2023. In the Minutes of the meeting (MoM) dated 08.05.2023, as per point no.6 PSERC has directed PSPCL to take immediate action to get Standard Cost Data revised and states that, “In fact, the cost data was last got approved four years ago i.e. in May, 2019 wherein it was seen that the overall cost of release of connections across the state is met with through the service connection charges. Thus in case the cost has escalated, PSPCL should submit the proposal for cost revision along with requisite documents”.

  - Accordingly, to prepare the Cost data for LT and HT/EHT consumers, Committees have been constituted. Subsequently, cost data for the year 2022-23 along with supporting documents in respect of DS, NRS, Industrial (SP, MS, LS), Street Light, Bulk Supply, AP categories covering specifications of various items and material as well as labour/other charges for providing electric line/plant to various categories of consumers/applicants for the purpose of giving power supply. The cost so prepared for computation of Standard Cost Data for various categories of consumers was submitted to the Hon’ble PSERC on 25.04.2024 & 20.05.2024 for consideration.

  - As per memo no. 2904/PSERC/DTJ-50 (Vol. VII) dated 11.06.2024 (Annexure-A), Hon’ble PSERC directed that:-

It is observed that the computation of Standard Cost Data for various consumers has 	been 	done on the basis of data related to year 2022-23. In this regard, the Standard 	Cost Data may be worked out on the basis of latest data of year 2023-24. Moreover, 	the actual cost of 	material issued by store organization for release of connection to 	various categories of consumers during 2023-24 may also be supplied along 	with Standard Cost Data. Further, the 	supporting documents in respect of the 	category-wise and slab-wise cost data for LT 	consumers be also supplied for 	verification of the same.

  - After that in continuation of above said letter, vide memo no. 2971/PSERC/DTJ-50 	(Vol. VII) dated 26.06.2024 (Annexure-B), Hon’ble PSERC directed PSPCL to file a 	petition in this regard so that all the stakeholders get an opportunity to file their 	comments/objections on the proposed cost data, as per Regulation 8(4) of the 	PSERC (Conduct of Business) Regulations, 2005.

- It is submitted that variable charges/fixed charges of LT consumers were estimated and forwarded as per costs received from the field office (i.e. DS Circle- Ludhiana, Patiala & Bathinda). As, it is tedious and time-consuming exercise and further keeping in view the urgency of the matter, it is requested that cognizance of data already submitted vide memo no. 118/SCD/22-23 dated 25.04.2024 (Annexure-C) for the year 2022-23 w.r.t. LT may kindly be taken by the Hon’ble Commission while deciding the same for the year 2023-24.

Further, Standard Cost Data (Slab-wise & Load wise) previously 	submitted by the DS Circles of PSPCL is based on estimation/extrapolation of data 	of material & cost incurred for the same. Therefore, it is not practically feasible to 	determine sub-category-wise, load wise & slab wise expenditure incurred for release 	of connection for load upto 100 KW. However, total number of connections released 	under category of GSC, Industrial, AP and cost of material against them during the   	FY 2023-24 is as under:-

3.1 Cost of Material:-

Circle Wise and Category Wise (GSC, Industrial & AP), cost of Material/Transformer   for the FY 2023-24, as provided by the O/o CE/IT, PSPCL (Annexure-D) is tabulated below: -

Cost in Rupees only

| S.No. | Circle | Cost of Material used in GSC connection | Cost of Material used in Industrial connection (SP, MS, LS, DS) | Cost of Material used in AP connection |
| --- | --- | --- | --- | --- |
| 1 | Patiala | 67088112 | 64515091 | 1820567 |
| 2 | Sangrur | 39302761 | 37969432 | 4995464 |
| 3 | Ropar | 79196384 | 50864987 | 3554813 |
| 4 | Mohali | 75226212 | 51941488 | 329572 |
| 5 | Bathinda | 99473442 | 61297864 | 13142522 |
| 6 | Faridkot | 60763380 | 18443074 | 6075106 |
| 7 | Ferozpur | 54676114 | 17437576 | 6252919 |
| 8 | Mukatsar | 96362232 | 25032733 | 15808312 |
| 9 | Jalandhar | 40134436 | 27609029 | 108131 |
| 10 | Kapurthala | 71430862 | 10778190 | 2506875 |
| 11 | Hoshiarpur | 40735188 | 27394585 | 4445134 |
| 12 | Nawanshahr | 36650743 | 9209731 | 4778751 |
| 13 | City Amritsar | 9488529 | 4294807 | -6485 |
| 14 | Sub-urban Amritsar | 72669448 | 5590213 | 2479131 |
| 15 | Tarn taran | 41765350 | 17036481 | 1656063 |
| 16 | Gurdaspur | 116464664 | 23221099 | 3425933 |
| 17 | City West Ludhiana | 30222914 | 95732852 | 229902 |
| 18 | City East Ludhiana | 11817935 | 50225085 | -234 |
| 19 | Khanna | 28775387 | 43656525 | 707088 |
| 20 | Sub-urban Ludhiana | 58285135 | 23676135 | 1726738 |
| 21 | Barnala | 34453827 | 26628265 | 1356137 |
| Total |  | 116,49,83,055 | 702549242 | 75392439 |

3.2 Total Load & No. of connections:-

Circle Wise and Category Wise (GSC, Industrial & AP) total number of connections and total load released for the FY 2023-24, as provided by the O/o CE/Planning, PSPCL (Annexure-E) is tabulated below :-

| S. No. | Circle | GSC Connections | GSC Load | Industrial Connections | Industrial Load | AP Connections | AP Load |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (in KW/KVA) |  | (in KW/KVA) |  | (in KW/KVA) |
|  |  | No. | Load | No. | Load | No. | Load |
| 1 | Amritsar-city | 6018 | 16034 | 159 | 2807 | 0 | 0 |
| 2 | Amritsar-sub | 16725 | 37100 | 201 | 10155 | 20 | 86 |
| 3 | Taran-taran | 10408 | 20817 | 93 | 11684 | 9 | 59 |
| 4 | Gurdaspur | 19519 | 43389 | 248 | 15531 | 13 | 107 |
| 5 | Jalandhar | 20665 | 49349 | 235 | 21853 | 2 | 15 |
| 6 | Hoshiarpur | 16428 | 38063 | 187 | 12930 | 20 | 465 |
| 7 | Nawanshahar | 9101 | 20707 | 97 | 7225 | 17 | 776 |
| 8 | Kapurthala | 12128 | 28577 | 131 | 17991 | 0 | 0 |
| 9 | Khanna | 10746 | 25614 | 258 | 133747 | 2 | 14 |
| 10 | Ludhiana-East | 10459 | 23474 | 767 | 25032 | 0 | 0 |
| 11 | Ludhiana-sub | 9643 | 24038 | 186 | 16458 | 6 | 43 |
| 12 | Ludhiana-West | 18663 | 49370 | 698 | 58142 | 0 | 0 |
| 13 | Patiala | 18377 | 45863 | 385 | 78505 | 4 | 34 |
| 14 | Sangrur | 11745 | 26383 | 355 | 27712 | 42 | 463 |
| 15 | Mohali | 30209 | 140997 | 297 | 31316 | 1 | 45 |
| 16 | Barnala | 11541 | 28659 | 323 | 21954.96 | 7 | 70 |
| 17 | Ropar | 22441 | 76244 | 244 | 46795 | 48 | 586 |
| 18 | Bathinda | 23667 | 60227.9 | 653 | 59298 | 46 | 479 |
| 19 | Muktsar | 19497 | 39066 | 349 | 21809 | 122 | 611 |
| 20 | Ferozepur | 8806 | 17938 | 181 | 18997 | 29 | 224 |
| 21 | Faridkot | 11076 | 31066 | 192 | 21915 | 23 | 151 |
|  | Total | 317862 | 842975.90 | 6239 | 661856.96 | 411 | 4228 |

- Cost Data of 11 KV Lines, Cables & Breaker:-

The detailed calculation as provided by the office of CE/Distribution Projects is placed at 	 Annexure-F. The abstract of the same is tabulated below:-

| S.No. | Particulars | Rates worked out (Rs. in Lacs.) |
| --- | --- | --- |
| 1 | - Per ckt Km cost of 11 KV line with 30 mm2 ACSR conductor. | 4.437446 |
|  | - Per ckt Km cost of 11 KV line with 50 mm2 ACSR conductor. | 5.866854 |
|  | - Per ckt Km cost of 11 KV line with 80 mm² ACSR conductor. | 7.949057 |
|  | - Per ckt Km cost of 11 KV line with 100 mm² ACSR conductor. | 8.629683 |
| 2 | - Per KVA per Ckt. KM cost of 11 KV line with 30 mm2 ACSR conductor (Max. load on feeder 30 mm² ACSR in KVA= 1905) =1(a)/1905 | 0.002329 |
|  | - Per KVA per CKt. KM cost of 11 KV line with 50 mm² ACSR conductor. (Max. load on feeder 50 mm² ACSR in KVA= 2819) =1(b)/2819 | 0.002081 |
|  | - Per KVA per Ckt. KM cost of 11 KV line with 80 mm² ACSR conductor. (Max. load on feeder 80 mm² ACSR in KVA= 3753) =1(c)/3753 | 0.002118 |
|  | - Per KVA per Ckt. KM cost of 11 KV line with 100 mm2 ACSR conductor. (Max. load on feeder 100 mm² ACSR in KVA= 4839) =1(d)/4839 | 0.001783 |
| 3 | - Per ckt. KM cost of 11 kV 3c x 35 mm² XLPE Cable erecting on 9m poles | 10.30378 |
|  | - Per ckt. KM cost of 11 KV 3cx 150 mm² XLPE Cable erecting on 9m poles. | 16.95509 |
|  | - Per ckt. KM cost of 11 kV 3c x 300 mm² XLPE Cable erecting on 9m poles. | 25.60065 |
| 4 | - Per KVA per ckt. KM cost of 11 kV 3c x 35 mm² XLPE Cable erecting on 9m poles (Max. load on feeder 35 mm² XLPE cable in KVA= 2381) =3(a)/2381 | 0.004328 |
|  | - Per KVA per ckt. KM cost of 11 kV 30 x 150 mm² XLPE Cable per Ckt. KM erecting on 9m poles. (Max. load on feeder 150 mm² XLPE cable in KVA= 5620) =3(b)/5620 | 0.003017 |
|  | - Per KVA per ckt. KM cost of 11 kV 30 x 300 mm² XLPE Cable per Ckt. KM erecting on 9m poles (Max. load on feeder 300 mm² XLPE cable in KVA= 5620) =3(c)/8573 | 0.002986 |
| 5 | - Per Ckt. KM cost of 11 kV 3c x 35 mm² XLPE Cable erecting on 11m poles | 12.54634 |
|  | - Per ckt. KM cost of 11 kV 30 x 150 mm² XLPE Cable erecting on 11m poles | 19.19765 |
|  | - Per ckt. KM cost of 11 kV 30 x 300 mm² XLPE Cable erecting on 11m poles | 27.84321 |
| 6 | - Per kVA per ckt KM cost of 11 kV 3c x 35 mm² XLPE Cable erecting on 11m poles (Max. load on feeder 35 mm2 XLPE cable in KVA= 2381) =5(a)/2381 | 0.005269 |
|  | - Per KVA per ckt KM cost of 11 kV 3c x 150 mm² XLPE Cable erecting on 11m poles (Max. load on feeder 150 mm2 XLPE cable in KVA= 5620) =5(b)/5620 | 0.003416 |
|  | - Per KVA per ckt KM cost of 11 kV 3c x 300 mm² XLPE Cable erecting on 11m poles. (Max. load on feeder 300 mm2 XLPE cable in KVA= 5620) =5(c)/8573 | 0.003248 |
| 7 | Cost of 11 kV breaker | 6.241757 |
| 8 | Per KVA cost of 11 KV breaker with CT Ratio 400-200 Amp | 0.001248 |

- Cost Data 33KV/66 KV Transmission Lines & Cables, Sub-Stations & Line Bays:-

The detailed calculation as provided by the office of CE/TS, PSPCL is at placed at 	Annexure-G. The abstract of the same is tabulated below:-

| S.No. | Particulars | Rates worked out (Rs. in Lacs.) |
| --- | --- | --- |
| 1 | - 66 KV SC line on SC towers with 200 mm2 (0.2 sq. Inch) copper equivalent conductor per ckt. Km | 32.42 |
|  | - 66 KV SC line on DC towers with 200 mm2 (0.2 sq. Inch) copper equivalent conductor per ckt. Km | 36.47 |
|  | - 66 KV DC line on DC towers with 200 mm2 (0.2 sq. Inch) copper equivalent conductor per ckt. Km | 47.14 |
|  | - 66 KV SC line on DC towers with 420 mm2 (0.4 sq. Inch) copper equivalent conductor per ckt. Km | 63.6 |
|  | - 66 KV DC line on DC towers with 420 mm2 (0.4 sq. Inch) copper equivalent conductor per ckt. Km | 81.51 |
| 2 | - 66 KV 240 mm2 U/G Cable per ckt. Km (Single Circuit) (Supply + laying including accessories) | 297.24 |
|  | - 66 KV 240 mm2 XLPE U/G Cable per ckt. Km (Double Circuit) (Supply + laying including accessories) | 528.30 |
|  | - 66 KV 630 mm2 XLPE U/G Cable per ckt. Km (Single Circuit) (Supply + laying including accessories) | 496 |
|  | - 66 KV 630 mm2 XLPE U/G Cable per ckt. Km (Double Circuit) (Supply + laying including accessories) | 892.79 |
|  | - 66 KV 1000 mm2 XLPE U/G Cable per ckt. Km (Single Circuit) (Supply + laying including accessories) | 789.71 |
|  | - 66 KV 1000 mm2 XLPE U/G Cable per ckt. Km (Double Circuit) (Supply + laying including accessories) | 1412.48 |
| 3 | - Cost of 66 KV back up line with SC on SC towers with 200 mm2 (0.2 sq. Inch) copper equivalent conductor per MVA per Ckt. KM | 0.74 |
|  | - Cost of 66 KV back up line with SC on DC towers with 200 mm2 (0.2 sq. Inch) copper equivalent conductor per MVA per Ckt. KM | 0.83 |
|  | - Cost of 66 KV back up line with DC on DC towers with 200 mm2 (0.2 sq. Inch) copper equivalent conductor per MVA per Ckt. KM | 0.54 |
|  | - Cost of 66 KV back up line with SC on DC towers with 420 mm2 (0.4 sq. Inch) copper equivalent conductor per MVA per Ckt. KM | 0.98 |
|  | - Cost of 66 KV back up line with DC on DC towers with 420 mm2 (0.4 sq. Inch) copper equivalent conductor per MVA per Ckt. KM | 0.63 |
| 4 | - Cost of 66 KV 240 mm2 U/G XLPE Cable per MVA per Ckt. KM (Single Circuit) | 6.83 |
|  | - Cost of 66 KV 240 mm2 U/G XLPE Cable per MVA per Ckt. KM (Double Circuit) | 6.07 |
|  | - Cost of 66 KV 630 mm2 U/G XLPE Cable per MVA per Ckt. KM (Single Circuit) | 7.68 |
|  | - Cost of 66 KV 630 mm2 U/G XLPE Cable per MVA per Ckt. KM (Double Circuit) | 6.92 |
|  | - Cost of 66 KV 1000 mm2 U/G XLPE Cable per MVA per Ckt. KM (Single Circuit) | 9.08 |
|  | - Cost of 66 KV 1000 mm2 U/G XLPE Cable per MVA per Ckt. KM (Double Circuit) | 8.17 |
| 5 | - 66 KV SC line on DC towers with 150 mm2 (HTLS conductor) per ckt. Km (including erection charges) | 57.41 |
|  | - 66 KV DC line on DC towers with 150 mm2 (HTLS conductor) per ckt. Km (including erection charges) | 85.31 |
|  | - 66 KV SC line on DC towers with 200 mm2 (HTLS conductor) per ckt. Km (including erection charges) | 67.83 |
|  | - 66 KV DC line on DC towers with 200 mm2 (HTLS conductor) per ckt. Km (including erection charges) | 100.67 |
|  | - 66 KV SC line on DC towers with 420 mm2 (HTLS conductor) per ckt. Km (including erection charges) | 103.53 |
|  | - 66 KV DC line on DC towers with 420 mm2 (HTLS conductor) per ckt. Km (including erection charges) | 173.98 |
| 6 | - Cost of 66 KV SC on DC towers with 150 mm2 (HTLS conductor) per MVA per ckt. KM | 0.78 |
|  | - Cost of 66 KV DC on DC towers with 150 mm2 (HTLS conductor) per MVA per ckt. KM | 0.58 |
|  | - Cost of 66 KV SC on DC towers with 200 mm2 (HTLS conductor) per MVA per ckt. KM | 0.78 |
|  | - Cost of 66 KV DC on DC towers with 200 mm2 (HTLS conductor) per MVA per ckt. KM | 0.57 |
|  | - Cost of 66 KV SC on DC towers with 420 mm2 (HTLS conductor) per MVA per ckt. KM | 0.80 |
|  | - Cost of 66 KV DC on DC towers with 420 mm2 (HTLS conductor) per MVA per ckt. KM | 0.67 |
| 7 | - 66 KV SC on DC line on Monopoles with 200 mm2 (0.2 sq. inch) ACSR conductor per ckt. Km (including erection charges) | 187.46 |
|  | - 66 KV DC on DC line on Monopoles with 200 mm2 (0.2 sq. inch) ACSR conductor per ckt. Km (including erection charges) | 197.43 |
|  | - 66 KV SC on DC line on Monopoles with 420 mm2 (0.4 sq. inch) ACSR conductor per ckt. Km (including erection charges) | 282.75 |
|  | - 66 KV DC on DC line on Monopoles with 420 mm2 (0.4 sq. inch) ACSR conductor per ckt. Km (including erection charges) | 310.90 |
| 8 | Cost of 33KV/66 KV additional line bay | 33.01 |

Performas containing information of Purchase Orders of concerned material along with 	copies of Purchase Orders for all major items (like Power transformers, breakers, cables, 	conductors, tower material, disc insulator, etc) are also placed at Annexure-H & I. Further, 	latest rate list of material issued by the O/o CE/Stores & Workshop, PSPCL, Ludhiana is 	also placed at Annexure-J.

- Cost Data of 132KV/220KV Transmission lines & Line Bays:-

The detailed calculation as provided by the office of CE/TS, PSTCL is paced at      	Annexure-K. The abstract of the same is tabulated below:-

| S.No. | Particulars | Rates worked out (Rs. in Lacs.) |
| --- | --- | --- |
| 1. | - 132 KV line bay | 92.48 |
|  | - 220 KV line bay | 157.22 |
| 2 | - 132 KV SC line on SC Towers with 0.2 sq. inch Copper equivalent conductor per Ckt. KM. (ASCR Nominal Al Area 200 mm²) | 41.21 |
|  | - 132 KV SC line on DC Towers with 0.2 sq. inch Copper equivalent conductor per Ckt. KM (ASCR Nominal Al Area 200 mm²) | 46.61 |
|  | - 132 KV DC line on DC Towers with 0.2 sq. inch Copper equivalent conductor per Ckt KM. (ASCR Nominal Al Area 200 mm²) | 54.94 |
| 3 (a) | - 220 KV SC line on SC Towers with 0.4 sq. inch Copper equivalent conductor per Ckt KM. (ASCR Nominal Al Area 420 mm²) | NA |
|  | - 220 KV SC line on DC Towers with 0.4 sq. inch Copper equivalent conductor per Ckt. KM. (ASCR Nominal Al Area 420 mm²) | 73.76 |
|  | - 220 kV DC line on DC Towers with 0.4 sq. inch Copper equivalent conductor per Ckt KM. (ASCR Nominal Al Area 420 mm²) | 93.40 |
| 3 (b) | - 220 KV SC line on SC Towers with 0.5 sq. inch Copper equivalent conductor per Ckt KM. (ASCR Nominal Al Area 520 mm²) | NA |
|  | - 220 kV SC line on DC Towers with 0.5 sq. Inch Copper equivalent conductor per Ckt KM. (ASCR Nominal Al Area 520 mm²) | 92.21 |
|  | - 220 kV DC line on DC Towers with 0.5 sq. inch Copper equivalent conductor per Ckt. KM (ASCR Nominal Al Area 520 mm²) | 110.23 |
| 4. | - Cost of 132 KV line bay at mother station per MVA (MVA capacity considered for Panther conductor = 111.34 MVA) | 0.83 |
|  | - Cost of 220 KV line bay at mother station per MVA (MVA capacity considered for Zebra conductor = 280.83 MVA) | 0.56 |
| 5. | - Per MVA cost of 132 KV substation (with one 20MVA, 132/11 T/F and 8 no.11 kV O/G feeders to be fed by T-off) (20 MVA capacity considered 1428.86 in whole) | 71.44 per MVA |
|  | - Per MVA cost of 220KV substation (with 1 x 160 MVA 220/66 T/F) (160 MVA capacity considered 2768.68 in whole) | 17.30 per MVA |
| 6 | - Per MVA cost of 400 KV line bay. (400 KV projects are Turnkey based) | NA |
|  | - Per MVA cost of 220 KV line bay. (MVA capacity considered by taking Moose Conductor = 318.55) | 0.49 |
|  | - Per MVA cost of 132 KV line bay. (MVA capacity considered by taking Panther Conductor = 111.34) | 0.83 |
|  | - Per MVA cost of 66 KV line bay. (MVA capacity considered by taking Panther Conductor = 55.67) | 0.96 |
| 7 | - Per MVA per Ckt. KM cost of 132 KV SC line on SC Towers with 200 mm² conductor (MVA capacity considered by taking Panther Conductor = 111.34) | 0.37 |
|  | - Per MVA per Ckt. KM cost of 220 KV SC line on DC Towers with 420 mm² conductor (MVA capacity considered by taking Zebra Conductor = 280.83) | 0.27 |
|  | - Per MVA per Ckt. KM cost of 220 KV SC line on DC Towers with 520 mm² conductor (MVA capacity considered by taking Moose Conductor = 318.55) | 0.29 |
|  | - Per MVA per Ckt. KM cost of 400 KV SC line on DC Towers with 520 mm² conductor (400 KV projects are Turnkey based) | NA |

Performa containing information of Purchase Orders of all major items 	along with copies of Purchase Orders is placed at Annexure-L.  Brief detail provided by PSTCL for executing the work related to replacement of existing conductor with HTLS conductor on Turnkey basis is Annexed at Annexure-M.

- Normative and Variable Cost:-

| Sr. No. | Description | Amount in Rs. |
| --- | --- | --- |
| 1 | Normative cost of 11 KV (Annexure-N) | 1656.40 |
| 2 | Normative cost of 66 KV (Annexure-O) | 498.59 |
| 3 | Variable Cost per metre of LT (DS Consumers) (Annexure-P) |  |
|  | Load upto 2 KW | 528.334 |
|  | Load 2-7 KW | 569.371 |
|  | Load 7-50 KW | 645.360 |
|  | Load 50-100 KW | 1088.596 |
|  | Total Cost per meter | 571.165 |

- Proposal:-

In view of the details mentioned in above paras, Standard Cost Data of the following may 	be approved by the Hon’ble Commission:-

- LT Consumers

- 11 KV Lines and Cables

- 66 KV Lines and Cables

- 66 KV Sub-Stations

- 220/132/66 KV line bays

- 132/220KV transmission lines

- System Loading Charges

- Normative Cots for 11KV, 66KV.

- Variable Cost of LT (DS Consumers)

- The per Ckt. KM and per Ckt. KM per kVA/MVA cost of various 11/66/132/220 kV lines, per kVA/MVA cost of 11 kV outgoing breaker and 66/132/220 kV line bays approved in the cost data shall be used for working out security (works) as per Regulaiion, 9.3 and proportionate cost or the common portion of line to be recovered from applicants/consumers as per regulation 9.1.1 and 9.1.3 of the Supply Code,2014, as amended from time to time. The Standard cost data approved by the Commission may be applicable to the demand notices to be issued from the date issue of Commercial Circular.

Further, permanent standing committee constituted to finalize/proposed the cost data in respect of all types 33 kV/66KV (e.g. new Substations, Additional Transformers, Augmentation of Transformers, New Transmission lines/ Cables, Augmentation of Existing Lines/ Cables, Replacement of Existing line/ Cables, New LE controlled 	Bay, New Circuit Breaker Controlled line bays and conversion of LE controlled bay to circuit breaker, control bay etc.) works has recommended as below:-

- 66 KV Transmission lines & Cables:-

The estimated cost of 66 KV lines and cables is recommended as per details given in attached Annexures and the cost may be read along with notes provided in these Annexures.

- The committee recommends that where connection of consumer can be released on SC on SC basis, however to avoid future RoW issues, PSPCL decides to release it on SC on DC basis then the due SC on SC charges may be got deposited from the consumer which comes out to be 90% approx. of SC on DC charges as per standard cost data.

- HTLS conductor can be designed to carry 1.5 to 2.5 times the current that of the conventional ACSR conductor of same size. For convenience, HTLS conductor MVA capacity of line has been considered double of its equivalent ACSR conductor line capacity.

- 66 KV Line Bay & Sub-Stations:-

The estimated cost of 66 KV line Bay and per MVA cost of Sub-stations, is recommended as per details given in the attached Annexures and the cost may be read along with notes provided in these Annexures.

- In earlier approved standard cost data during year 2019-20, establishment charges @16% were taken. However, as per clause 39 of ESIM, departmental charges @27.5% (inclusive of T&P charges @1.5%) are required to be taken in case of works executed by PSPCL on behalf of consumer but remains property of private consumer. Accordingly, departmental charges @27.5% shall be applicable while calculating cost data for works related to 66KV Sub-Stations and new 66KV bays. As T&P charges @1.5% are already included in departmental charges, hence charges in column 4 (contingency & storage charges, transportation, T&P and erection charges) are required to be reduced to 9.5% from 11%.

- Apart from above, Dy.CE/TL (D), vide memo no. 2758/TL(D)-208 dated 30.07.2024 (Annexure-Q) has intimated that a differential factor between SC on SC monopole line and SC on DC monopole line works out to be 0.88. Further, the differential factor between SC on SC HTLS line and SC on DC HTLS line works out to be 0.94.

- Transmission lines/bays for 33kV system are designed and constructed for 66kV capacities and so cost chargeable from consumers remains the same for both 33kV and 66kV lines /bays. The 66kV line charges are exclusive of Railway crossing charges and shall be chargeable, if required, on actual basis as it varies from case to case. Ckt KM in case of cables include 4 no. single core cable which includes 1 no. spare cable also. The cost of cable cannot be generalized as it varies from site to site, work order to work order. Even, in a single specification with two or three works rates can be different. It is also intimated that works of underground cables monopoles and augmentation/replacement of HTLS conductor are be carried out on turnkey basis. It is further requested that the cost of supply and laying of cable shall be allowed to be recovered from the consumer on actual basis. Further, the compensation charges for land under the transmission line conductor, Right of way (RoW) be considered as per Annexures attached (CE/TS, PSPCL, Patiala).

- It is submitted that as the Land cost vary significantly across Punjab. For instance, land in Chandigarh and Ludhiana Periphery is considerably more expensive compared to border areas like Tarantaran and Mukatsar (Annexure-R). Accordingly, it is proposed that System Loading Charges (SLC) for the cases where land is not provided by the developer and in case where land for grid substation is provided by the developer, may kindly be decided by the Hon’ble Commission on the basis of market rate base.

- Prayer

Hon'ble commission is requested to consider and approve the above cited proposal and pass the order by incorporating cost data for recovery of charges from the various types of consumers for supply of electricity.

DA/Annexure-A to R

Chief Engineer/ARR&TR,

PSPCL, Patiala.

BEFORE THE PUNJAB STATE ELECTRICITY REGULATORY COMMISSION

CHANDIGARH

PETITION NO.          OF 2024

IN THE MATTER OF:

Petition under Regulation 47 of Supply Code-2014 and Regulation 8(4) of Chapter II of the Conduct of Business Regulations 2005 for revision of Standard Cost Data.

IN THE MATTER OF:

Punjab State Power Corporation Limited,

The Mall, Patiala, Punjab

Petitioner

AFFIDAVIT

I, Er. Harmohan Kaur D/o S. Narinder Singh (Retd. PCS), working as CE/ARR&TR in PSPCL having office at F-4, Shakti Vihar, Patiala do solemnly affirm and state as follows:-

- That I, as CE/ARR&TR of Punjab State Power Corporation Ltd., the Petitioner in the above matter, am duly authorized by PSPCL to make affidavit on this behalf.

- That the contents of the above noted petition are true to the best of my knowledge and I believe that no part of it is false and nothing has been concealed therein.

- That the statement and facts incorporated in the above noted petition are based on the information collected from concerned offices of the PSPCL and I believe them to be true.

- There is no other case that is pending before any other Forum or any other Court on the subject matter filed by PSPCL in the present petition.

DEPONENT

VERIFICATION:

I, the deponent above named do hereby verify that the contents of my above affidavit are true to my knowledge, no part of it is false and nothing material has been concealed there from.

Verified at Patiala

Date: 20.08.2024

DEPONENT